| Units of Weight | Units of Volume |
| --- | --- |
| 1 kg = 1000 g (grams) 1 g = 1000 mg (milligrams) 1 mg = 1000 mcg (micrograms) 1 mcg = 1000 ng (nanograms) | 1 litre = 1000 ml (millilitres) 1 ml = 1000 mcl (microlitres) |

CONCENTRATIONS

Percentage concentrations

Dissolved substance is measured in grams of drug in 100 ml (millilitre) of solvent.

1% 	= 	1 gram in 100 ml

5%	=	5 g in 100ml

20% 	= 	20 g in 100 ml

50% 	=	50 g in 100 ml

Weight or Volume Ratios

Any amount dissolved in any volume

1 in 1000 	=    1 g  in 1000 ml  	or 	1000 mg in 1000 ml          or   1 mg/ml

1 in 10 000	=    1 g  in 10 000 ml	or	1000 mg in 10 000 ml       or   1mg in 10 ml

| ADMINISTRATION SETS |  |  |
| --- | --- | --- |
| Standard solution set For clear crystalloid or colloid fluids | 100 micron filter | delivers 20 drops per ml |
| Burette set Fluid measuring chamber and microdropper | 100 micron filter | Delivers 60 drops per ml |
| Standard Blood set For blood and fresh frozen plasma Not recommended for clear fluids due to large micro filter which will not protect patient from particulate produced in manufacturing | 170 micron filter | Deliver 15 drops per ml of blood (20 drops per ml of clear fluids: not recommended) |
| Platelet set For platelets or cryoprecipitate only | 170 micron filter | Deliver 15 drops per ml |

FORMULA:

Dose prescribed    X  volume of solution    		or 	what you want       X   volume

Dose available						what you've got

FLOW RATES  or 	DRIP RATE CALCULATIONS:

(Check: 1. volume of solution to be infused  2. duration of infusion   3. drops per ml of administration set)

Drop rate/minute  =    Volume to be infused   X    Drops per ml    	Or  Drops/min  = ml/h x  drops per ml

Hours of infusion time	      60 (minutes in hour) 			       60 (min/h)

INFUSION CALCULATIONS

ml / h			=	desired mcg / kg/ min  X	patient weight (kg)  X  60 (minutes)

concentration of solution in mcg/ml

mcg / kg / min		=	concentration of solution (mcg/ml)  X   infusion rate (ml/h)

patient weight (kg) 	X      60 (minutes)